## Slide 1: Solid state NMR
CHEM 3013 HPO

## Slide 2: An exciting time to study NMR
Solid state NMR is complicated.
That complexity give spectra rich in structural information (not available in solution NMR)
Very recent advances solid state technology allow study of macromolecular solids.

## Slide 3: Overview
Lecture 1: Anisotropic spin interactions
Lecture 2: Solids spectra and magic angle spinning
Lecture 3: NMR experiments for biosolids
Practical:
  Tuning the magic angle with quadrupolar 79Br
  Shimming with silicone rubber
  Compensating frictional heating
  Cross-polarisation with a microcrystalline protein sample

## Slide 4: Liquid vs. Solid state NMR
B0

## Slide 5: Liquid vs. Solid state NMR

## Slide 7: Chemical shift
B0
electrons
Chemical shift is an indirect magnetic interaction between nuclear spin and the external magnetic field via the electrons

## Slide 8: Direct dipole-dipole coupling
Two nuclear spins interact directly by their magnetic dipolar fields
Up to 20 kHz!

## Slide 9: J-coupling
electrons
Also called indirect dipole-dipole coupling,
J-coupling is an indirect magnetic interaction between nuclear spins via the electrons
~ 50 Hz

## Slide 10: Quadrupole coupling
+
-
electrons
Quadrupole coupling is an electric interaction of the non-spherical charge density of a nucleus with the electrons. This only applies for spin > 1/2

## Slide 11: Anisotropic interactions
Isotropic: The magnitude is constant over all orientations
Anisotropic: The magnitude varies with orientation of the molecule with respect to the external magnetic field.
Spherical harmonics (same as molecular orbital theory)

## Slide 12: A tensor basis for spatial functions
Fourier decomposition
=
Spherical harmonic decomposition

## Slide 13: Chemical shift anisotropy (CSA)
Chemical shift depends on the orientation of the molecular orbitals with respect to the external magnetic field B0
B0
electrons
150 ppm
210 ppm
B0

## Slide 14: Chemical shift in an unordered ensemble
“Powder pattern”
This is like a histogram for the chemical shift of uniformly distributed molecular orientations over a sample.

## Slide 15: CSA not visible in solution NMR
Like fast-exchange, all chemical shifts are averaged on the time-scale of rotational tumbling.

## Slide 16: A tensor description of CSA
?

## Slide 17: A tensor description of CSA

## Slide 18: A tensor description of CSA

## Slide 19: Isotropy and anisotropy
+

## Slide 20: Direct dipole-dipole coupling
B0
0° = -10 kHz
90° = 5 kHz
54.7° = 0 kHz

## Slide 21: Direct dipole-dipole coupling anisotropy
H
H
H
H
H
H
“Pake pattern”
This is like a histogram for the coupling of uniformly distributed bond vector orientations over a sample.
d

## Slide 22: A tensor description of direct dipole-dipole coupling
Not observed in solution NMR!

## Slide 23: Summary
In solution NMR we see isotropic interactions: chemical shift and j-coupling.
Anisotropic interactions are observable in solid state NMR: Chemical shift anisotropy, direct DD coupling, quadrupole coupling.
Anisotropic spin interactions can be described by spherical tensors.
A tensor has a matrix representation with principle axes.